ANALYTICAL

EXAM SET : 1

1. The primary standard used in acidimetry is:

a) HCl
b) NaOH
c) Na₂CO₃
d) H₂SO₄

✅ Answer: c) Na₂CO₃

2. Which indicator is used in the titration of strong acid vs strong base?

a) Methyl orange
b) Phenolphthalein
c) Both a and b
d) None

✅ Answer: c) Both a and b

3. In complexometric titration, the most common titrant is:

a) EDTA
b) AgNO₃
c) KMnO₄
d) Na₂S₂O₃

✅ Answer: a) EDTA

4. The buffer solution is a mixture that:

a) Maintains constant temperature
b) Maintains constant pH
c) Maintains constant ionic strength
d) None

✅ Answer: b) Maintains constant pH

5. In gravimetric analysis, the precipitate should be:

a) Soluble and fine
b) Coarse and pure
c) Volatile and light
d) Colloidal

✅ Answer: b) Coarse and pure

6. Beer's law states that absorbance is directly proportional to:

a) Path length
b) Concentration
c) Both a and b
d) Neither

✅ Answer: c) Both a and b

7. The unit of molar absorptivity (ε) is:

a) L mol⁻¹ cm⁻¹
b) mol L⁻¹ cm⁻¹
c) cm mol⁻¹
d) L cm⁻¹ mol⁻¹

✅ Answer: a) L mol⁻¹ cm⁻¹

8. Flame photometry is mainly used for determination of:

a) Transition metals
b) Alkali and alkaline earth metals
c) Non-metals
d) Lanthanides

✅ Answer: b) Alkali and alkaline earth metals

9. The mobile phase in gas chromatography is:

a) Liquid
b) Gas
c) Solid
d) Supercritical fluid

✅ Answer: b) Gas

10. Retention time in chromatography depends on:

a) Column temperature
b) Nature of stationary phase
c) Flow rate of mobile phase
d) All of the above

✅ Answer: d) All of the above

11. The internal standard in AAS (Atomic Absorption Spectroscopy) is used to:

a) Increase absorption
b) Correct for instrumental variations
c) Increase sensitivity
d) Decrease noise

✅ Answer: b) Correct for instrumental variations

12. In potentiometric titration, the measured quantity is:

a) pH
b) Potential difference (E)
c) Current
d) Conductivity

✅ Answer: b) Potential difference (E)

13. Conductometric titration is most suitable for:

a) Colored solutions
b) Non-aqueous solutions
c) Weak acid–weak base titrations
d) Precipitation titrations

✅ Answer: c) Weak acid–weak base titrations

14. The term “LOD” stands for:

a) Limit of Deviation
b) Limit of Detection
c) Level of Determination
d) Lower Order Data

✅ Answer: b) Limit of Detection

15. The stationary phase in paper chromatography is:

a) Paper fiber
b) Water adsorbed on paper
c) Organic solvent
d) None

✅ Answer: b) Water adsorbed on paper

16. Which of the following is not an optical method of analysis?

a) UV–Visible spectrophotometry
b) Infrared spectroscopy
c) Atomic absorption spectroscopy
d) Gravimetry

✅ Answer: d) Gravimetry

17. The pH electrode commonly used is made of:

a) Platinum
b) Silver
c) Glass
d) Carbon

✅ Answer: c) Glass

18. In voltammetry, the quantity measured is:

a) Voltage
b) Current
c) Absorbance
d) Conductivity

✅ Answer: b) Current

19. The main purpose of a desiccator in gravimetric analysis is:

a) To dry the sample by heating
b) To cool and prevent moisture absorption
c) To filter impurities
d) To precipitate the analyte

✅ Answer: b) To cool and prevent moisture absorption

20. In infrared spectroscopy, molecular vibrations occur in which energy region?

a) UV
b) Visible
c) Infrared
d) Microwave

✅ Answer: c) Infrared

21. The primary standard used to standardize a sodium hydroxide (NaOH) solution is:
a) Potassium Hydrogen Phthalate (KHP)
b) Hydrochloric Acid (HCl)
c) Sodium Carbonate (Na₂CO₃)
d) Sulfuric Acid (H₂SO₄)

✅ Answer: a) Potassium Hydrogen Phthalate (KHP).

22. In a titration, the point at which the indicator changes color is called the:
a) Equivalence Point
b) End Point
c) Standard Point
d) Stoichiometric Point

✅ Answer: b) End Point.

23. The standard deviation of a set of data is a measure of:
a) Accuracy
b) Precision
c) Systematic Error
d) Absolute Error

✅ Answer: b) Precision.

24. A 1.000 M HCl solution is diluted by a factor of 2. What is its new concentration?
a) 0.100 M
b) 0.500 M
c) 2.000 M
d) 1.000 M

✅ Answer: b) 0.500 M.

25. In a complexometric titration using EDTA, the analyte is typically a:
a) Strong acid
b) Strong base
c) Metal ion
d) Redox agent

✅ Answer: c) Metal ion.

26. The pH at the equivalence point for the titration of a strong acid with a strong base is:
a) Less than 7
b) Greater than 7
c) Equal to 7
d) Exactly 14

✅ Answer: c) Equal to 7.

27. A buffer solution resists changes in pH primarily when:
a) A strong acid is added
b) A strong base is added
c) It is diluted with water
d) Both a strong acid and a strong base are added

✅ Answer: d) Both a strong acid and a strong base are added.

28. In a redox titration involving KMnO₄, the KMnO₄ acts as the:
a) solvent
b) Analyte
c) Titrant
d) Buffer

✅ Answer: c) Titrant.

29. The end point in a precipitation titration using Mohr's method is detected by the formation of:
a) A gas
b) A colored complex
c) A colored precipitate
d) A change in pH

✅ Answer: c) A colored precipitate.

30. In Atomic Absorption Spectroscopy (AAS), the primary purpose of the flame is to:
a) Emit light characteristic of the metal
b) Atomize the sample
c) Detect the absorbed light
d) Monochromate the light

✅ Answer: b) Atomize the sample.

31. The primary output of a Gas Chromatograph (GC) is a:
a) Spectrum
b) Voltammogram
c) Chromatogram
d) Calibration curve

✅ Answer: c) Chromatogram.

32. In potentiometry, the potential of an indicator electrode is measured relative to a:
a) Cathode
b) Anode
c) Reference electrode
d) Working electrode

✅ Answer: c) Reference electrode.

33. The retention time in chromatography is defined as the time:
a) Between injection and detection
b) For the mobile phase to pass through the column
c) Between injection and the maximum of a peak
d) A solute spends in the mobile phase

✅ Answer: c) Between injection and the maximum of a peak

34. Which factor is NOT a common way to improve resolution in High-Performance Liquid Chromatography (HPLC)?
a) Increasing the column length
b) Using a stationary phase with smaller particles
c) Raising the column temperature
d) Increasing the flow rate of the mobile phase

✅ Answer: d) Increasing the flow rate of the mobile phase.

35. What is the most critical characteristic of a primary standard?
a) It must be a liquid for easy dispensing.
b) It must have a low molecular weight for weighing ease.
c) It must be 99.9% pure or higher with a known composition.
d) It must be inexpensive and brightly colored.

✅ Answer: c)  It must be 99.9% pure or higher with a known composition.

36. Which of the following is a common primary standard used to standardize acid solutions?
a) Sodium Hydroxide (NaOH)
b) Potassium Hydrogen Phthalate (KHP)
c) Hydrochloric Acid (HCl)
d) Potassium Permanganate (KMnO₄)

✅ Answer: b) Potassium Hydrogen Phthalate (KHP)

37. Sodium Hydroxide (NaOH) is generally not used as a primary standard because it:
a) Has a low molecular weight.
b) Is a weak base.
c) Is hygroscopic and reacts with atmospheric CO₂.
d) Is too expensive.

✅ Answer: c). Is hygroscopic and reacts with atmospheric CO₂.

38. A secondary standard is a substance whose purity is established by:
a) Chemical synthesis in the lab.
b) Comparison with a primary standard.
c) Its high molecular weight.
d) Thermogravimetric analysis.

✅ Answer:  b). Comparison with a primary standard.

39. Which of the following is a primary standard for EDTA (Ethylenediaminetetraacetic acid) titrations?
a) Magnesium Sulfate (MgSO₄)
b) Pure Zinc metal (Zn)
c) Calcium Carbonate (CaCO₃)
d) Sodium Chloride (NaCl)

✅ Answer:  c) Calcium Carbonate (CaCO₃).

40. The main purpose of a primary standard is to:
a) Act as a self-indicator in titrations.
b) Provide a reaction of known and reproducible stoichiometry for standardizing other solutions.
c) Speed up the rate of a titration reaction.
d) Make the titration endpoint more visible.

✅ Answer:  b). Provide a reaction of known and reproducible stoichiometry for standardizing other solutions.